Отчёт по обновлению и добавлению новых функций проекта умных бесстрессовых весов для крупного рогатого скота
1. Создание нового проекта на GitHub с использованием submodules Был создан новый проект на базе GitHub, который теперь включает использование submodules. Такая архитектура позволяет модульно управлять кодом, что повышает гибкость разработки и упрощает работу над различными компонентами проекта. Submodules помогают поддерживать независимое развитие отдельных модулей, что облегчает обновления, тестирование и поддержку. Это особенно полезно, когда несколько компонентов требуют разных циклов обновлений, и когда команды работают над разными частями проекта параллельно.
2. Разработка установочного файла для подготовки Raspberry на базе ОС Bullseye Был разработан установочный файл setup.sh для подготовки Raspberry Pi с операционной системой Bullseye. Данный скрипт автоматизирует процесс настройки окружения и установки необходимых зависимостей, что значительно упрощает подготовку устройства для работы. Использование единого установочного файла снижает вероятность ошибок, связанных с ручной настройкой, и позволяет быстрее развернуть систему.
3. Разработка тестовых кодов на Python Были разработаны тестовые коды на базе Python, которые помогут в будущем создать полноценный диагностический модуль. Такой модуль позволит быстро выявлять неисправности, что особенно важно в случае возникновения проблем с оборудованием. Это позволит сократить время простоя и оперативно реагировать на возможные дефекты.
4. Обновление конфигурационного файла Конфигурационный файл был дополнен новыми параметрами, что сделало оборудование более гибким для настройки и монтажа. Добавленные параметры позволяют легче адаптировать систему под конкретные условия эксплуатации, учитывая особенности мест установки и предпочтения пользователя. Это помогает повысить универсальность оборудования и облегчить его использование.
Разработка класса MockGPIO для симуляции работы Raspberry Pi Был разработан класс MockGPIO, который позволяет симулировать работу GPIO на Raspberry Pi. Это даёт возможность проводить виртуальные тесты, не подключая реальное оборудование, что сокращает время на разработку и тестирование. С помощью MockGPIO разработчики могут отлаживать программное обеспечение, проверять логику работы и тестировать взаимодействие компонентов до реального развёртывания.
Реализация калибровки с помощью меток В проект впервые была внедрена калибровка с помощью специальных меток. Данная процедура ускоряет процесс монтажа и настройки оборудования, так как отпадает необходимость подключать компьютер для калибровки. Метки позволяют автоматизировать и упростить процесс настройки весов, делая его более интуитивным и доступным для конечного пользователя без технических навыков.
Обновление алгоритма Обновление основного алгоритма позволило автоматически определять и подключать коды управления разными периферийными устройствами. Это улучшение повышает совместимость оборудования с различными типами периферии и значительно упрощает процесс интеграции новых устройств, делая систему более гибкой и адаптивной.
Приложение.
Структура проекта.

setup_bullseye.sh
#!/bin/bash

set -euo pipefail

BASE_DIR="/home/pi/scales7.1"
DOWNLOADS="/home/pi/Downloads/"

echo_green() {
echo -e "\e[32m$1\e[0m"
}

echo_red() {
echo -e "\e[31m$1\e[0m"
}

if [ "$(id -u)" -ne 0 ]; then
echo_red "Этот скрипт нужно запускать с правами суперпользователя (root)." >&2
exit 1
fi

# Создание основного каталога, если он не существует
if [ ! -d "$BASE_DIR" ]; then
mkdir -p "$BASE_DIR"
echo_green "Каталог $BASE_DIR создан"
else
echo_green "Каталог $BASE_DIR уже существует"
fi

# Добавление сети в wpa_supplicant.conf
WPA_SUPPLICANT_CONF="/etc/wpa_supplicant/wpa_supplicant.conf"
NETWORK_BLOCK="
network={
ssid=\"REET1212scales\"
psk=\"19571212\"
key_mgmt=WPA-PSK
}
"

# Проверка наличия сети в wpa_supplicant.conf и добавление, если она отсутствует
echo_green "Добавление сети в $WPA_SUPPLICANT_CONF"
echo "$NETWORK_BLOCK" | sudo tee -a "$WPA_SUPPLICANT_CONF" > /dev/null

# Добавление конфигурации в dhcpcd.conf
DHCPCD_CONF="/etc/dhcpcd.conf"
DHCPCD_BLOCK="

interface eth0
static ip_address=192.168.1.249/24"

# Проверка наличия конфигурации в dhcpcd.conf и добавление, если она отсутствует
echo_green "Добавление конфигурации в $DHCPCD_CONF"
echo "$DHCPCD_BLOCK" | sudo tee -a "$DHCPCD_CONF" > /dev/null

# Перезапуск служб для применения изменений
echo_green "Перезапуск служб для применения изменений"

echo_green "Настройки успешно применены."
echo_green "Настройка локального интерфейса eth0 через systemd-networkd завершена."

# Установка Git репозитория
cd "$BASE_DIR"
if [ ! -d ".git" ]; then
git init
git clone https://github.com/M100ika/scales_submodule.git
git config --global --add safe.directory "$BASE_DIR"/scales_submodule
sudo chown -R $(whoami) /home/pi/scales7.1
#git branch --set-upstream-to=origin/main main
echo_green "Git репозиторий настроен"
else
echo_green "Git репозиторий уже существует"
fi

cd "$BASE_DIR"/scales_submodule
mkdir scales_log/error_log

# Установка виртуального окружения и зависимостей
if [ ! -d "vscales" ]; then
python -m venv vscales
echo_green "Виртуальное окружение создано"
else
echo_green "Виртуальное окружение уже существует"
fi

source "$BASE_DIR"/scales_submodule/vscales/bin/activate
if [ -f "requirements.txt" ]; then
pip install --upgrade pip
pip install -r requirements.txt
echo_green "Зависимости установлены"
else
echo_green "Файл requirements.txt не найден"
fi

echo_green "Настройка виртуального окружения завершена"s

# Копирование конфигурационных файлов
cp "$BASE_DIR"/scales_submodule/services/config.ini "$BASE_DIR"/scales_submodule/src/
sudo chmod 777 "$BASE_DIR"/scales_submodule/src/config.ini
chmod +x "$BASE_DIR"/scales_submodule/src/config.ini
echo_green "Копирование config.ini завершено"

cp "$BASE_DIR"/scales_submodule/services/pcf.service /etc/systemd/system/
echo_green "Копирование pcf.service завершено"

# Перезапуск и проверка статуса сервиса
sudo systemctl enable pcf.service
sudo systemctl start pcf.service
sudo systemctl restart pcf.service
if systemctl is-active --quiet pcf.service; then
echo_green "Демон запущен"
else
echo_green "Ошибка демона"
fi

echo_green "Настройка демона завершена"

# Установка TeamViewer
# cd "$DOWNLOADS"
# wget https://download.teamviewer.com/download/linux/teamviewer-host_15.55.3_armhf.deb
# dpkg -i teamviewer-host_armhf.deb
# echo_green "Установка TeamViewer завершена"

echo_green "Настройка завершена"

# Условие удаления скрипта: только если нет ошибок
if [ $? -eq 0 ]; then
rm -- "$0"
echo_green "Скрипт успешно самоудалился."
fi
exit 0

config.ini
[Parameters]
model = pcf_fdr_71
type = Feeder
serial_number = feeder0423v21-1
url = https://smart-farm.kz:8502/api/v2/RawFeedings
median_url = http://194.4.56.86:8501/api/weights
array_url = https://smart-farm.kz:8502/v2/OneTimeWeighings
arduino_port = Отсутствует
debug = 1
database = 1

[Calibration]
calibration_mode = 0
rfid_calibration_mode = 1
taring_rfid = 5921303c8
scaling_rfid = 8415507b5
weight = 80
offset = 16766507
scale = -3358.285714285714

[DbId]
id = 30
version = 7.1

[Relay]
sensor_pin = 17

[RFID_Reader]
reader_usb = 1
reader_buzzer = 0
reader_port = Отсутствует
reader_power = 26
reader_timeout = 2

[Sprayer]
medicine_pin = 18
paint_pin = 23
post_url = 'https://smart-farm.kz:8502/api/v2/SprayingTaskResults'
task_url = 'https://smart-farm.kz:8502/api/v2/Sprayings?scalesSerialNumber='
rfid_url_part = '&animalRfidNumber='
headers = {'Content-type': 'application/json'}

main.py
#!/usr/bin/python3

"""Scales main file. Additional function: sprayer. Version 7.1
Author: Suieubayev Maxat.
Contact number +7 775 818 48 43. Email maxat.suieubayev@gmail.com"""

from _headers import install_packages

requirement_list = ['loguru',
'requests',
'pyserial',
'RPi.GPIO',
'wabson.chafon-rfid']
install_packages(requirement_list)

from _lib_pcf import scales_v71
from loguru import logger
from _config_manager import ConfigManager

from _glb_val import DEBUG

config_manager = ConfigManager()
debug_level = "DEBUG" if DEBUG == 1 else "CRITICAL"

"""Инициализация logger для хранения записи о всех действиях программы"""
logger.add('scales_log/scales.log', format="{time} {level} {function} {message}",
level=debug_level, rotation="1 day", retention= '1 month', compression="zip")

"""Инициализация logger для хранения записи об ошибках программы"""
logger.add('scales_log/error_log/errors.log', format="{time} {level} {file} {function}:{line} {message}",
level="ERROR", rotation="1 day", retention= '1 month', compression="zip") # Настройка логгера

@logger.catch() # Показывает ошибки, не работает если их обрабатывать
def main():
try:
scales_v71()
except Exception as e:
logger.error(f'Error: {e}')

main()

_lib_pcf.py
#!/usr/bin/python3

"""File containing all working functions and algorithms for determining the weight of the animal and spraying.
Author: Aidar Alimbayev and Suieubayev Maxat
Contact: maxat.suieubayev@gmail.com
Number: +7 775 818 48 43"""

from datetime import datetime
import json
import requests
import socket
import binascii
import timeit
import statistics
import time
from loguru import logger
import _values_class as value_data
import _adc_data as ADC
from _chafon_rfid_lib import RFIDReader
try:
import RPi.GPIO as GPIO
except RuntimeError:
from __gpio_simulator import MockGPIO as GPIO

from _config_manager import ConfigManager
from _sprayer import Sprayer
from _glb_val import *
import select

config_manager = ConfigManager()

def start_obj():
try:
obj = ADC.ArduinoSerial(PORT)
obj.connect()
offset, scale = float(config_manager.get_setting("Calibration", "offset")), float(config_manager.get_setting("Calibration", "scale"))
obj.set_offset(offset)
obj.set_scale(scale)
return obj
except Exception as e:
logger.error(f'Error connecting: {e}')

def start_filter(obj):
try:
for i in range(5):
obj.calc_mean()
obj.set_arr([])
except Exception as e:
logger.error(f'start filter function Error: {e}')

def _set_power_RFID_ethernet():
try:
logger.info(f"Start configure antenna power")
s = socket.socket(socket.AF_INET, socket.SOCK_STREAM)
s.connect((TCP_IP, TCP_PORT))
s.send(bytearray(RFID_READER_POWER))
data = s.recv(BUFFER_SIZE)
recieved_data = str(binascii.hexlify(data))
check_code = "b'4354000400210143'"
if recieved_data == check_code:
logger.info(f"operation succeeded")
else:
logger.info(f"Denied!")
except Exception as e:
logger.error(f"_set_power_RFID_ethernet: An error occurred: {e}")
finally:
s.close()

def __connect_rfid_reader_ethernet():
try:
#logger.info('Start connect RFID function')
with socket.socket(socket.AF_INET, socket.SOCK_STREAM) as s:
s.connect((TCP_IP, TCP_PORT))
s.setblocking(False) # Установить сокет в неблокирующий режим

# Очищаем буфер перед началом
while True:
ready = select.select([s], [], [], 0.1) # Ожидание данных в течение 0.1 секунды
if ready[0]:
s.recv(BUFFER_SIZE)
else:
break

s.setblocking(True) # Возвращаем сокет в блокирующий режим
s.settimeout(RFID_TIMEOUT)
s.send(bytearray([0x53, 0x57, 0x00, 0x06, 0xff, 0x01, 0x00, 0x00, 0x00, 0x50]))
for attempt in range(1, 4):
ready = select.select([s], [], [], RFID_TIMEOUT)
if ready[0]:
data = s.recv(BUFFER_SIZE)
if data:
full_animal_id = binascii.hexlify(data).decode('utf-8')
logger.info(f'Full rfid: {full_animal_id}')
# animal_id = full_animal_id[:-10][-12:]
# logger.info(f'Animal ID: {animal_id}')
return full_animal_id[50:-5] if full_animal_id else None

return None
except Exception as e:
logger.error(f'Error connect RFID reader {e}')
return None

def post_median_data(animal_id, weight_finall, type_scales): # Sending data into Igor's server through JSON
try:
logger.debug(f'START SEND DATA TO SERVER:')
url = config_manager.get_setting("Parameters", "median_url")
headers = {'Content-type': 'application/json'}
data = {"AnimalNumber" : animal_id,
"Date" : str(datetime.now()),
"Weight" : weight_finall,
"ScalesModel" : type_scales}
answer = requests.post(url, data=json.dumps(data), headers=headers, timeout=30)
logger.debug(f'Answer from server: {answer}') # Is it possible to stop on this line in the debug?
logger.debug(f'Content from main server: {answer.content}')
except requests.exceptions.RequestException as e:
logger.error(f'Error sending data to server: {e}')
else:
logger.info('Data sent successfully')

def post_array_data(type_scales, animal_id, weight_list, weighing_start_time, weighing_end_time):
try:
logger.debug(f'Post data function start')
url = config_manager.get_setting("Parameters", "array_url")
headers = {'Content-Type': 'application/json; charset=utf-8'}
data = {
"ScalesSerialNumber": type_scales,
"WeighingStart": weighing_start_time,
"WeighingEnd": weighing_end_time,
"RFIDNumber": animal_id,
"Data": weight_list
}
post = requests.post(url, data=json.dumps(data), headers=headers, timeout=30)
logger.debug(f'Post Data: {data}')
logger.debug(f'Answer from server: {post}') # Is it possible to stop on this line in the debug?
logger.debug(f'Content from main server: {post.content}')
except requests.exceptions.RequestException as e:
logger.error(f'Error post data: {e}')

def __input_with_timeout(timeout):
import sys, select

logger.info(f"You have {int(timeout)} seconds to respond.")
ready, _, _ = select.select([sys.stdin], [], [], timeout)
if ready:
return sys.stdin.readline().strip()
else:
logger.warning("Input timed out.")
raise TimeoutError("User input timed out.")

def __calibrate(timeout):
start_time = time.time()

def time_remaining():
return max(0, timeout - (time.time() - start_time))

try:
logger.info(f'\033[1;33mStarting the calibration process.\033[0m')
arduino = ADC.ArduinoSerial(config_manager.get_setting("Parameters", "arduino_port"), 9600, timeout=30)
arduino.connect()

logger.info(f"Ensure the scale is clear. Press any key once it's empty and you're ready to proceed.")
time.sleep(1)
__input_with_timeout(time_remaining())

offset = arduino.calib_read_mediana()
logger.info("Offset: {}".format(offset))
arduino.set_offset(offset)

logger.info("Place a known weight on the scale and then press any key to continue.")
__input_with_timeout(time_remaining())

measured_weight = (arduino.calib_read_mediana() - arduino.get_offset())
logger.info("Please enter the item's weight in kg.\n>")
item_weight = __input_with_timeout(time_remaining())
scale = int(measured_weight) / int(item_weight)
arduino.set_scale(scale)

logger.info(f"\033[1;33mCalibration complete.\033[0m")
logger.info(f'Calibration details\n\n —Offset: {offset}, \n\n —Scale factor: {scale}')
config_manager.update_setting("Calibration", "Offset", offset)
config_manager.update_setting("Calibration", "Scale", scale)

arduino.disconnect()
del arduino

except TimeoutError:
logger.error("Calibration timed out.")
arduino.disconnect()
del arduino
except Exception as e:
logger.error(f'Calibration failed: {e}')
arduino.disconnect()
del arduino

def _rfid_offset_calib():
try:
logger.info(f'\033[1;33mStarting the RFID taring process.\033[0m')
arduino = ADC.ArduinoSerial(ARDUINO_PORT, 9600, timeout=1)
arduino.connect()
offset = arduino.calib_read_mediana()
arduino.set_offset(offset)
config_manager.update_setting("Calibration", "Offset", offset)
logger.info(f'Calibration details\n\n —Offset: {offset}')
arduino.disconnect()
del arduino
logger.info(f'\033[1;33mRFID taring process finished succesfully.\033[0m')
except:
logger.error(f'RFID taring process Failed')
arduino.disconnect()

def _rfid_scale_calib():
try:
logger.info(f'\033[1;33mStarting the RFID scale calibration process.\033[0m')
logger.info(f'\033There should be {CALIBRATION_WEIGHT} kg.\033[')
arduino = ADC.ArduinoSerial(ARDUINO_PORT, 9600, timeout=1)
arduino.connect()
offset = float(config_manager.get_setting("Calibration", "Offset"))
mediana = arduino.calib_read_mediana()
logger.info(f'Mediana: {mediana}\noffset: {offset}')
measured_weight = (mediana - offset)
logger.info(f'measured_weight: {measured_weight}\nCALIBRATION_WEIGHT: {CALIBRATION_WEIGHT}')
scale = measured_weight/CALIBRATION_WEIGHT
logger.info(f'calibration weight is: {CALIBRATION_WEIGHT}')
arduino.set_scale(scale)
config_manager.update_setting("Calibration", "Scale", scale)
logger.info(f'Calibration details\n\n —Scale factor: {scale}')
arduino.disconnect()
del arduino
logger.info(f'\033[1;33mRFID scale calibration process finished succesfully.\033[0m')
except:
logger.error(f'calibrate Fail')
arduino.disconnect()

def _calibrate_or_start():
try:
logger.info(f'\nTo calibrate the equipment, put a tick in the settings to calibration mode:\nActaul state is {"CALIBRATION_ON" if CALIBRATION_MODE else "CALIBRATION_OFF"}')
if CALIBRATION_MODE:
__calibrate(timeout=120)

except Exception as e:
logger.error(f'Calibrate or start Error: {e}')

def __animal_rfid():
try:
if RFID_READER_USB:
rfid_reader = RFIDReader()
return rfid_reader.connect()
else:
cow_id = __connect_rfid_reader_ethernet()
if cow_id is not None:
logger.info(f'cow_id__animal_rfid: {cow_id}')
return cow_id
except Exception as e:
logger.error(f'RFID reader error: {e}')

def __process_calibration(animal_id):
try:
if RFID_CABLIBRATION_MODE:
if animal_id == CALIBRATION_TARING_RFID:
_rfid_offset_calib()
return True
elif animal_id == CALIBRATION_SCALE_RFID:
_rfid_scale_calib()
return True
return False
except Exception as e:
logger.error(f'Calibration with RFID: {e}')

def scales_v71():
try:
_calibrate_or_start()
if RFID_READER_USB == False:
_set_power_RFID_ethernet()
while True:
cow_id = __animal_rfid() # Считывание меток
if cow_id is not None:
logger.info(f'scales_v71_cow_id: {cow_id}')
calib_id = __process_calibration(cow_id)
if calib_id == False and cow_id != None:
arduino = start_obj() # Создаем объект
time.sleep(1) # задержка для установления связи между rasp и arduino
weight_finall, weight_array, weighing_start_time = measure_weight(arduino, cow_id)
logger.info("main: weight_finall", weight_finall)
weighing_end_time = str(datetime.now()) # Время окончания измерения

if str(weight_finall) > '0':
logger.info("main: Send data to server")
post_array_data(TYPE_SCALES, cow_id, weight_array, weighing_start_time, weighing_end_time)
post_median_data(cow_id, weight_finall, TYPE_SCALES) # Send data to server by JSON post request
arduino.disconnect() # Закрываем связь
except Exception as k:
arduino.disconnect()
logger.error(f'Main error: {k}')

def measure_weight(obj, cow_id: str) -> tuple:
try:
weight_arr = []
start_filter(obj)
next_time = time.time() + 1
drink_start_time = timeit.default_timer()
gpio_state = False
start_timedate = str(datetime.now())
values = value_data.Values(
drink_start_time, 0, TYPE_SCALES, cow_id, 0, '0', 0, 0, 0, 0, True
)

if SPRAYER:
sprayer = Sprayer(values)
weight_on_moment = obj.get_measure()
logger.info(f'Weight on the moment: {weight_on_moment}')

while weight_on_moment > 40:
obj.calc_mean()
current_time = time.time()
time_to_wait = next_time - current_time

if SPRAYER:
if not values.flag:
gpio_state = sprayer.spray_main_function(gpio_state)
values = sprayer.new_start_timer(gpio_state)
else:
if time_to_wait < 0 and round(time.time(), 0) % 5 == 0:
values.flag = False

if time_to_wait < 0:
weight_arr.append(obj.calc_mean())
next_time = time.time() + 1
logger.debug(f'Array weights: {weight_arr}')

weight_on_moment = obj.get_measure()

GPIO.cleanup()

if not weight_arr:
logger.info("null weight list")
return 0, [], ''

weight_finall = statistics.median(weight_arr)
if SPRAYER:
gpio_state = sprayer.gpio_state_check(gpio_state)

return weight_finall, weight_arr, start_timedate

except Exception as e:
logger.error(f'measure_weight Error: {e}')
GPIO.cleanup()
return 0, [], ''